## Slide 1: Cluster Shared Volumes Reborn in Windows Server 2012: Deep Dive
Amitabh Tamhane Vineeth Karinta
Program Manager 2 Senior Engineer
Microsoft Corporation NetApp
WSV430

## Slide 2: Agenda Cluster Shared Volumes (CSV) in Windows Server 2012
Overview
What’s changed in Windows Server 2012
New architecture
Performance enhancements
Improved Backup & Restore of volumes

## Slide 3: What is Cluster Shared Volumes (CSV)
Clustered file system in Windows Server 2012
  Layer of abstraction above NTFS
All cluster nodes can read/write to the CSV volume
LUN ownership by node abstracted from application
Applications failover without
drive ownership changes
  No dismounting and remounting of volumes
  Faster failover times (less downtime)

## Slide 4: CSV reduces Management Complexity
Flexibility
  No LUN per Application
Scalability
  No drive letter limitation
Capacity
  Better SAN space utilization
Manageability
  Fewer LUNs reduce SAN complexity

## Slide 5: CSV in Windows Server 2008 R2
Focused v1 release first introduced
Only Hyper-V workload supported
  Targeted at enabling Hyper-V
Implemented as a file system mini-filter
  Intercepts and routes I/O

## Slide 6: CSV Motivations for Windows Server 2012
Expand CSV to support more workloads
  File Server in addition to Hyper-V
Improve Backup / Restore
Improved performance
  Block Level I/O redirection
  Direct I/O for more scenarios
CSV on top of Storage Spaces
Leverage SMB 3.0 & new File System features

## Slide 7: New CSV Architecture in Windows Server 2012 What it delivers
Improved interoperability with file system mini-filter drivers
  Anti-virus software
  Backup software
Infrastructure for Application Consistent distributed backups
Integrate with new File System features
  Support for Offloaded Data Transfer (ODX)
  Spot-fixing integrated to do online correction
Significant performance improvements
Supports BitLocker encrypted volumes
Memory mapped files now supported
No longer Active Directory dependencies for improved performance and resiliency

## Slide 8: CSV Architecture
Under the hood

## Slide 9: Cluster Shared Volumes (CSV) I/O synchronization overview
Shared Storage
VHD
VHD
VHD
Shared LUN
Read/Write
Metadata
Simultaneous read/write access
All cluster nodes
Server side metadata sync
Avoids I/O interruptions

## Slide 10: When do Metadata Updates Occur
Scenarios where metadata updates occur:
  VM creation/deletion
  VM power on/off
  VM mobility (live migration or storage live migration)
  Snapshot creation
  Extending a dynamic VHD
  Renaming a VHD
Key Takeaways
Metadata updates are small operations that happen infrequently for VMs
Parallel metadata updates that are non-disruptive for applications

## Slide 11: CSVFS Architecture - Proxy File System
Coordinator Node
Volume Manager
NTFS
CSV File System Filter
Server / SMB
Node 2
Disk
VM
Share
Node 1
Direct I/O
CSV VolumeMgr
CSV Proxy File System
CSVFS
SAN
Client / SMB
CSV VolumeMgr
CSV Proxy File System
Disk
VM
Share

## Slide 12: Single Namespace Consistent view across the cluster
Single consistent file name space across cluster nodes
Volumes exposed under “ClusterStorage” root directory
  VolumeX directory name can be renamed

## Slide 13: CSV Namespace Mount Points
Used custom reparse points in Windows Server 2008 R2
Windows Server 2012 uses standard Mount Points
Delivers better interoperability with:
  Performance Counters
  System Center Operations Manager
  Monitoring free space on CSV volumes
  Backup software

## Slide 14: CSV Proxy File System
CSV enabled volumes now appear as “CSVFS”
  NTFS file system under the covers
  Volumes are still formatted with NTFS file system
Enables applications to be CSV aware
  Ensures compatibility

## Slide 15: Simplified CSV Setup
Integrated into Failover Cluster Manager Storage view
  “Cluster Shared Volumes” container removed
CSV integrated into Failover Cluster core feature
  No longer needs to be explicitly enabled
Simple right-click to add to CSV

## Slide 16: Setting up Clustered Shared Volumes
demo
Amitabh Tamhane
Program Manager 2
Clustering and High Availability

## Slide 17: How CSV Enables Even Higher Availability
Resiliency

## Slide 18: Fault Tolerant Application Handles CSV Resiliency
CSV provides I/O fault tolerance
  Transparently handles node, network, and HBA failures
CSV virtualizes file handles to applications
  Volume Paused - I/O queued
  Reopens “true” files handles and remaps the “virtual” handles
  Volume Resumed – I/O completed
Failover is transparent to application!

## Slide 19: I/O Connectivity Fault Tolerance
VHD
VM running on Node 2 is unaffected
Coordination Node
SAN Connectivity Failure
I/O Redirected via network
VM live migration with zero downtime

## Slide 20: Node Fault Tolerance
VHD
Volume relocates to a healthy node
Brief queuing of I/O while volume ownership is changed
Node Failure
VM running on Node 2 is unaffected
Coordination Node
New Coordination
Node

## Slide 21: Network Fault Tolerance
VHD
Network Path Connectivity Failure
Metadata Updates Rerouted to redundant network
VM running on Node 2 is unaffected
Coordination Node

## Slide 22: Continuously Available Scale out File Server Flexible storage choices for the private cloud
Cluster platform for a continuously available scale out file server
  Cluster-wide client access point
  Consistent cluster-wide file server configuration
  CSV cluster-wide file system
Zero client downtime failover – both planned and unplanned downtime
Cluster Shared Volumes
Single Logical Server (\\Foo\Share)
Accessing VHDs over SMB
Hyper-V Cluster
File Server Cluster
Single File System Namespace

## Slide 23: Maximized File System Availability CHKDSK / SPOTFIX Integration
Disk scanning separated from disk repair
Online volume scanning
  Volume offline only to repair
  Based on number of errors to fix rather than size of volume
Zero offline time with CSV
Chart: Minutes
| 100 Million Files | 200 Million Files | 300 Million Files
Windows Server 2008 R2 | 109 | 292 | 376
Windows Server 2012 | 0.13 | 0.13 | 0.13
<3 sec of downtime
From Hours to Seconds …

## Slide 24: Improved CSV Performance
Performance

## Slide 25: CSV Block Cache
Distributed write-through cache
Consistent across cluster
Unbuffered I/O (excluded from Windows Cache Manager)
Windows Cache Manager integration
Same as traditional NTFS
Buffered I/O
Huge value for Pooled VDI VM scenario
Read-write differencing VHDs
Read-only parent VHD

## Slide 26: Configuring CSV Block Cache
Configuring Size of Cache
  SharedVolumeBlockCacheSizeInMB – Cluster common property
    0 = Disabled
    Non-zero = Amount of RAM in MB to be used for cache on all nodes in cluster
    512 MB recommended value
Enabling CSV Caching
  Per CSV Volume
  CsvEnableBlockCache - Physical Disk resource private property
    0 = Disabled (default)
    1 = Enabled for that LUN
      Requires recycling the resource to take effect

## Slide 27: Redirected I/O Less Often CSV Optimizations
Direct I/O for more scenarios
  Delivers faster I/O performance and lower network overhead
  Better VM creation and copy performance
New algorithm for determining what types of I/O is redirected
  Uses oplocks as a distributed locking mechanism to determine if I/O can go via direct path
Direct I/O
Redirected I/O
Block level I/O performance parity
Remote file system (SMB) performance parity

## Slide 28: High Performance Block Level I/O Redirection
Coordinator Node
Volume Manager
NTFS
CSV File System Filter
Server / SMB
Node 2
VM
Share
Node 1
CSV VolumeMgr
CSV Proxy File System
CSVFS
SAN
Client / SMB
CSV VolumeMgr
CSV Proxy File System
Disk
VM
Share
Storage Connection Broken
or not present
Avoids traversing File System stack twice
Delivers 2x
performance
Disk

## Slide 29: High Speed CSV I/O Redirection SMB 3.0 integration
CSV traffic streamed across multiple networks with SMB multi-channel
  Improved I/O performance in redirected mode
CSV will also leverage SMB Direct (SMB 3.0 over RDMA)
CSV Streaming I/O Across Multiple Networks
Coordinator Node
VHD
10.10.10.X
20.20.20.X
VM with I/O being redirected

## Slide 30: SMB Performance Improvements Inherit gains for CSV redirection performance
Improved Performance of refactored SMB client (98%)
Network transport optimizations
  TCP/IP – SMB multi-channel & NIC Teaming, TCP offloads, DC-TCP
  RDMA – Lowest network CPU overhead (cycles/byte)
Chart: 
| SMB | SMB + | DAS
SQL TPC-C transactions/s | 1175 | 4270 | 4315

## Slide 31: Performance Improvements – Recap CSV Redirected mode
I/O redirection needed less often
CSV Block Level Redirection
SMB 3.0
Multi-Channel
SMB 3.0 Direct (RDMA)
CSV Block Cache
Many Pieces Come Together for Radical Improvement

## Slide 32: Deployment Considerations

## Slide 33: Planning VM Density Per CSV Volume Deployment considerations
How many VMs per CSV volume?
  No CSV volume restrictions
  VMFS limitations do not apply to CSV
  CSV volume Metadata updates orchestrated server side and parallelized
How many IOPS can your storage array handle?

## Slide 34: Networking Planning
Network path leveraged when…
  Metadata updates to files
    Very infrequent for VM workload
  No storage connectivity
    Failure recovery
    Asymmetric storage configurations
Multi-path networks
  Delivers performance
  Avoids CSV traffic flowing over the public network
Disable iSCSI networks for cluster use (auto disabled)

## Slide 35: CSV Backup and Restore
Backup

## Slide 36: CSV Backup Key Wins
Distributed Snapshots
Distributed app consistent snapshot creation across cluster
Non-disruptive backups
CSV volume ownership does not change during backup
Parallel Backups
On same or different
  CSV volumes
  Cluster nodes
Improved Interoperability
Backup applications
Requestors not required to be ‘CSV aware’
Improved I/O performance
Direct I/O mode for software snapshots

## Slide 37: CSV Backup using NetApp SnapManager
NetApp
Vineeth Karinta
Senior Engineer
NetApp

## Slide 38: NetApp and Windows Server 2012 CSV
NetApp
  Developer of storage and data management solutions
  US$6.23bn in Revenue in FY2012
SnapManager® for Hyper-V (SMHV)
  Policy-based Backup and Restore of Hyper-V VMs
  Protects VMs running on multiple Hyper-V clusters and/or nodes
    Single pane of glass for multi-host Hyper-V backups
  VMs grouped into “Datasets” for ease of backup administration
    Data-protection policies applied to datasets
Visit us in the TechExpo in booth 1505

## Slide 39: CSV Backups in Windows Server 2012
Distributed application consistent backups of VMs in the cluster using the New ‘VSS CSV Writer’ and ‘VSS CSV Provider’
CSV value for Hyper-V backups
  Multiple VMs running in the local/partner cluster nodes on the same ‘CSV volume’ is now consistent with in a single snapshot
  Initializes VSS backup once on the ‘backup node’
  VSS providers is only called on ‘backup node’
  Faster backups, Fewer snapshots

## Slide 40: Backup Architecture
SMHV MMC Snap In
PowerShell CLI
SMHV Service (VSS Requester)
VSS Service
Data ONTAP Hardware provider
VM2
VM1
VM3
VM4
Hyper-V writer
CSV Providers
CSV writer
VSS Requester (no participation)
VSS Service
Hardware provider (no participation)
Hyper-V writer
CSV Providers
CSV writer
  Non Requestor Nodes
Data ONTAP®
VHD
VHD
VHD
CSV
Single Windows Volume
iSCSI, FCP, FCoE
  “Host1”
  Demosvr-01
  “Host2”
  Demosvr-02
  Backup Node

## Slide 41: CSV Backup using NetApp SnapManager for Hyper-V
Backup Demo
Vineeth Karinta
Senior Engineer
NetApp

## Slide 42: Summary Key Takeaways
Cluster Shared Volumes is significantly enhanced in Windows Server 2012
Supports more workloads
High performance
  CSV Block Cache
CSV is core infrastructure to enable your private cloud
INFRASTRUCTURE
as a SERVICE

## Slide 43: Question & Answers

## Slide 44: Related Content
Find Us Later at the “Availability” Booth
http://blogs.msdn.com/b/clustering/
WSV315 Windows Server 2012 File System Enhancements: Redefining File Storage
VIR401 Hyper-V High Availability and Mobility: Designing the Infrastructure for Your Private Cloud
WSV324 Building a Highly Available Failover Cluster Solution with Windows Server 2012 from the Ground UP
VIR301 Windows Server 2012 Hyper-V Storage
VIR306 Hyper-V over SMB: Remote File Storage Support in Windows Server 2012 Hyper-V
VIR304 Building Flexible Hyper-V Environments Windows Server 2012 Hyper-V Live Migration and Live Storage Migration
WSV411 Guest Clustering and VM Monitoring in Windows Server 2012

## Slide 45: SIA, WSV, and VIR Track Resources
Talk to our Experts at the TLC
#TE(sessioncode)
DOWNLOAD Windows Server 2012 Release Candidate
microsoft.com/windowsserver
Hands-On Labs
DOWNLOAD Windows Azure
Windowsazure.com/
teched

## Slide 46: Resources
  Connect. Share. Discuss.
http://northamerica.msteched.com
Learning
  Microsoft Certification & Training Resources
www.microsoft.com/learning
TechNet
  Resources for IT Professionals
http://microsoft.com/technet
  Resources for Developers
http://microsoft.com/msdn

## Slide 47
Complete an evaluation on CommNet and enter to win!

## Slide 48: MS Tag
Scan the Tag
to evaluate this
session now on
myTechEd Mobile

## Slide 49
© 2012 Microsoft Corporation. All rights reserved. Microsoft, Windows, Windows Vista and other product names are or may be registered trademarks and/or trademarks in the U.S. and/or other countries.
The information herein is for informational purposes only and represents the current view of Microsoft Corporation as of the date of this presentation. Because Microsoft must respond to changing market conditions, it should not be interpreted to be a commitment on the part of Microsoft, and Microsoft cannot guarantee the accuracy of any information provided after the date of this presentation. MICROSOFT MAKES NO WARRANTIES, EXPRESS, IMPLIED OR STATUTORY, AS TO THE INFORMATION IN THIS PRESENTATION.