## Slide 1: How Microsoft Manages Its Cloud Infrastructure at a Huge Scale
Rick Bakken
Senior Director, Data Center Evangelism
Microsoft
COS211

## Slide 2: Cloud Data Centers Chicago (Gen3)
3000 construction-related jobs
700,000+ square feet
$500M+ investment
60 MW Total Critical Power
1.5 million man-hours of labor
3400 tons of steel, 190 miles of conduit
2400 tons of copper
7.5 miles of chilled water piping
26,000 cubic yards of concrete

## Slide 3: Cloud - Global Connected Device Forecast
Source - INFINITE RESEARCH - Issue #003 | 03/08/11 | ww.infiniteresearch.net
60%
Growth
2010
2015

## Slide 4: Huge Global Scale 24x7
200+ CLOUD SERVICES
25M Users
500M Active Live IDs
59 markets and 36 languages
355M Active Accounts
Over 4B WW Queries Each Month
Over 6M Songs In The Catalog
Over 459M Unique Users
14B Ads Per Month
Over 303M Users 76 markets and 48 languages
2-4 billion emails per day
TV/HOME
PC
MOBILE

## Slide 5: Microsoft Datacenter Evolution
Portal Era
Online App Era
Web Services Era
Microsoft.com
First ISO 27001 cert
Microsoft 1st Data Center
1994-95
1997
2002
2004
2006
2008
Security Development Lifecycle
First SAS-70 cert
Trustworthy Computing Directive
Cloud Computing Era
2011+
PC Era
1980s
FISMA Cert
1989
Gen 1
Gen 2
Gen 3
Gen 4

## Slide 6: Microsoft Datacenter Scale
Chicago
Quincy
Dublin
Amsterdam
Hong Kong
Singapore
Japan
"Datacenters have become as vital to the functioning of society as power stations."
The Economist
San Antonio
Multiple global CDN locations
Boydton
Des Moines
Quincy, Washington: approx 500K sq ft, 27MW, uses entirely hydro-electric power
San Antonio, Texas: approx 477K sq ft, 27MW, uses recycled water for cooling
Chicago, Illinois: 707,000 square feet with critical power of 60 MW, uses water side economization, containers
Dublin, Ireland: approx 570K sq ft, up to 27MW, uses outside air for cooling.

## Slide 7: Cloud Architecture
Primary
DC
Secondary DC
edge node
edge node
edge node
edge node
edge node
anchor node
edge node
edge node
Dark
Fiber
Benefits
Application/Service Geo Redundancy - (PaaS)
Latency - User proximity to Service deployment
Node Cost - Lower Cost per MW
Cloud Appliance – Data Sovereignty
CDN Service (Edge Node)
Content Delivery Network
Cloud Appliance
Data Sovereignty
Cloud Appliance
Data Sovereignty

## Slide 8: Microsoft Global Foundation Services
Lowest $/MW, Rapid Deployment
Geo-independent design
GFS Certifications
ISO27001, SAS70, FISMA (.GOV)
Security & Compliance
Data Centers
Design, Build, Operate
Containers
ITPACs
Pre-manufactured buildings
Tools & Automation
Utility Pricing
Cost Transparency
Global Capacity
Microsite Strategy
    GFS Customers
    300+ MS Product Teams
    Microsoft IT (MS-IT, 1900 LOB apps)
    Cloud Hosting – BPOS & Azure
Global Network
Dark Fiber, Routing, Switching, Load-Balancing
Lower DC to DC costs
MOC
Global Ticketing
Bangalore, India
Redmond, USA

## Slide 9: Cloud Services – Consumption based charge back $
SLAs/OLAs
Units Consumed
@ rate
Business Problem | Transformation Challenges
Monitoring & Measuring IT elements Rate (IT) / Consumption (Customer) Allocation vs. accuracy “IT is too….. Unresponsive, expensive" | Asset Accuracy Taxonomy Consistency Process Change Systems Implementation IT/User Alignment Allocated/Unallocated
Utility Pricing
Cost Transparency
Charge back
Cost agreement/ alignment
Confidence in IT as a Service/Platform Provider
Power
Storage
Egress (traffic)
Tickets
Monitor/Measurement
Requires IT Reinvention
CEO Commitment
CFO/SAP Retool
Intelligent Monitoring
User Training

## Slide 10: Datacenter Efficiency & Application Effectiveness
Understanding Power Usage Effectiveness (PUE) metric:
In a typical large datacenter, for every watt consumed for server power (PUE=1.0), there can be another 0.5 to 1 watt consumed for power distribution losses and cooling (PUE= 1.5 to 2.0)
Building Load
Demand from Grid
IT Load
Demand from Servers, Storage, Telecom Equipment, etc.
PUE = Total Facility Power/IT Equipment Power
Power (Switch Gear, UPS, Battery Backup, etc.)
Cooling (Chillers, CRACs, etc.)
Creating Application/Performance/Watt/Dollar metric:
Utility based measurement and pricing. Operators will look at Application/Service level performance per consumption x rate (Power, Network, Storage, Tickets)

## Slide 11: Traditional Datacenter Infrastructure

## Slide 12: Datacenter Operational Energy Use
Source: EYP Mission Critical Facilities Inc., New York
Microsoft is focusing on all the pieces of the pie
Chart: 
| IT | Lighting, etc | Elec Losses (transformer, UPS) | Air Movement | Cooling
Traditional | 0.5 | 0.03 | 0.1 | 0.12 | 0.25
Traditional | 0.5 | 0.03 | 0.1 | 0.12 | 0.25
Chart: 
| IT | Lighting, etc | Elec Losses (transformer, UPS) | Air Movement | Cooling
Modular | 0.5 | 0.07533 | 0.058987 | 0.070649 | 0
Offline UPS technologies can drive Electrical losses substantially down
Widening environment can remove chillers and drive Cooling to zero
Virtualization, active power management increase IT return on investment
Chart: Traditional - PUE 2.0
IT | 0.5
Lighting, etc | 0.03
Elec Losses (transformer, UPS) | 0.1
Air Movement | 0.12
Cooling | 0.25
Chart: Modular - PUE 1.25
IT | 0.5
Lighting, etc | 0.07533
Elec Losses (transformer, UPS) | 0.058987
Air Movement | 0.070649
Cooling | 0

## Slide 13: Microsoft’s Data Center Evolution
Generation 1
Generation 2
Density
Rack
Density and Deployment
1.4 – 1.6 PUE
Minimized Resource Impact
Colocation
Server
Capacity
~2 PUE
20 year Technology
2010+
2008
1989-2005
2007
Generation 3
Containers
Containers & Pods
Scalability and Sustainability
1.2-1.5 PUE
Air & Water Economization
Differentiated SLAs
Generation 4
Modular
ITPAC
(Pre-Assembled Components)
Reduced Carbon, Rightsized
1.05-1.15 PUE
Faster Time to Market

## Slide 14: Gen4 ITPAC POC
Airside Economization
Adiabatic Cooling
Modularize and pre-manufacture the entire datacenter
Lower the Total Cost of Ownership
Increase scalability and right time to market
Standardize components to improve operations and reliability

## Slide 15: The Modular Datacenter
Forget square footage—relentlessly drive down $/KW per month
Pre-manufacture and build your supply chain to minimize materials/waste
Enable commoditization and scale
Tailor reliability to the applications
Measure, Inform, Report, Improve
Challenge Everything

## Slide 16: Paradigm Shift to Ultra-Modularity
Pre-manufacture the entire datacenter
Reduce time to market by >50%
50-60% lower capital investment
Scales with business demand
Classes based on availability needs
Free air cooling, low water utilization
Outstanding PUE  Lower TCO

## Slide 17
PACs are moved into place and connected to each other for complete module deployment
Microsoft’s Modular Datacenter
Quincy 1st ITPac Installations!

## Slide 18: Cloud Considerations
Cloud IT Value? Move up the stack
Drive change in the industry through strong partnerships
Application/Performance/Watt/Dollar
The Datacenter is the Server
Services not Servers (Charge Back)

## Slide 19: CTO “Journey to the Cloud” (2008-2020)
1
IT Workload Analysis
What's running where?
Virtualized Data Center
Efficiency gains
Cloud
Appliance
Resource Pooling
Data
Sovereignty
2
4
Rich Developer Tools & Experience
3
Application Migration
Cloud rehost, rewrite ancient code, reduce power
Applications
Value Added Services
Applications
Value Added Services
Cloud Platform
Owned Platform

## Slide 20: Cloud Datacenter – Capex/Opex best practices
Datacenter Innovation (Capex)
The Datacenter is the Server, Services not Servers
Use Airside - rethink density, eliminate heat
Drive change through strong partnerships (rationalize partnerships)
Plan for Innovation - 40 GB Enet, SSD’s, SOC
Operational Excellence (Opex)
IT value prop? – self serve, customized app/services (move up the stack)
Remember, free is expensive
IT = utility based pricing (consumption/rate)
Utility = Resource Pools on demand (CPU, Storage, DBsvs)
Use Power on demand (DC sleep states)
Monitoring – Application/Performance/Watt/Dollar
Implement security at all layers / simplify compliance

## Slide 21: Track Resources
Don’t forget to visit the Cloud Power area within the TLC (Blue Section) to see product demos and speak with experts about the Server & Cloud Platform solutions that help drive your business forward.
You can also find the latest information about our products at the following links:
Windows Azure - http://www.microsoft.com/windowsazure/
Microsoft System Center - http://www.microsoft.com/systemcenter/
Microsoft Forefront - http://www.microsoft.com/forefront/
Windows Server - http://www.microsoft.com/windowsserver/
Cloud Power - http://www.microsoft.com/cloud/
Private Cloud - http://www.microsoft.com/privatecloud/

## Slide 22: Resources
www.microsoft.com/teched
  Sessions On-Demand & Community
  Microsoft Certification & Training Resources
  Resources for IT Professionals
  Resources for Developers
www.microsoft.com/learning
http://microsoft.com/technet
http://microsoft.com/msdn
Learning
http://northamerica.msteched.com
  Connect. Share. Discuss.

## Slide 23
Complete an evaluation on CommNet and enter to win!

## Slide 25
© 2011 Microsoft Corporation. All rights reserved. Microsoft, Windows, Windows Vista and other product names are or may be registered trademarks and/or trademarks in the U.S. and/or other countries.
The information herein is for informational purposes only and represents the current view of Microsoft Corporation as of the date of this presentation. Because Microsoft must respond to changing market conditions, it should not be interpreted to be a commitment on the part of Microsoft, and Microsoft cannot guarantee the accuracy of any information provided after the date of this presentation. MICROSOFT MAKES NO WARRANTIES, EXPRESS, IMPLIED OR STATUTORY, AS TO THE INFORMATION IN THIS PRESENTATION.